Trigger configuration:
- Coincidence mode
- Coincidence level
- Type (external NIM/TTL,
        automatic,
   software)
- Send software trigger
Acquisition settings:
- Acquisition window length
- Post trigger percentage
Select display mode:
- Waveform (oscilloscope)
- Spectrum (multichannel analyzer)
- Blank (high rate data)